## BOQ
Type | Item Code | Work Description | Specification | Qty | Unit | Material Unit Cost | Total Material Cost | LE Unit Cost | Total LEC | Grand Total Cost | Condition
category | 01.00.00.00 | PRELIMINARY FOR CIVIL WORKS
subsubcategory | 01.00.01.00 | Project Management and Coordination | Site management and supervision (technical team) | 1 | lot | 47601 | 47601 | 328500 | 328500 | 376101 | CPM
subsubcategory | 01.00.02.00 | Facility Services Coordination | Service vehicle/ transportation | 1 | lot | 0 |  | 365001 | 365001 | 365001 | CPM
subsubcategory | 01.00.03.00 | Construction Progress Reporting | Schedules/ reports | 1 | lot | 34001 | 34001 | 36501 | 36501 | 70502 | CPM
subsubcategory | 01.00.04.00 | Health and Safety provisions | Site supervision and safety equipments/ provisions | 1 | lot | 0 |  | 36501 | 36501 | 36501 | CPM
subsubcategory | 01.00.05.00 | Site Security | Security personnel | 1 | lot | 0 |  | 219000 | 219000 | 219000 | CPM
subsubcategory | 01.00.06.00 | Building Permit, By Owner (Not included in Work) | Building Permit, By Owner To Be Assisted By The Gen Con | 1 | lot | 0 |  | 0 |  |  | Not included in Work
subsubcategory | 01.00.07.00 | DENR Permit, By Owner (Not included in Work) | DENR Permit, by owner | 1 | lot | 0 |  | 0 |  |  | Not included in Work
subsubcategory | 01.00.08.00 | Quality Control | Testing Laboratory Services | 1 | lot | 47601 | 47601 | 182501 | 182501 | 230102 | CPM
subsubcategory | 01.00.09.00 | Temporary Utilities | Temporary Electricity, by owner | 1 | lot | 0 |  | 0 |  |  | CPM
subsubcategory | 01.00.10.00 | Temporary Utilities | Temporary Water, by owner | 1 | lot | 0 |  | 0 |  |  | CPM
subsubcategory | 01.00.11.00 | Field Offices and Sheds | Construction Office | 1 | lot | 68001 | 68001 | 73001 | 73001 | 141002 | CPM
subsubcategory | 01.00.12.00 | Field Offices and Sheds | Barracks | 1 | lot | 68001 | 68001 | 73001 | 73001 | 141002 | CPM
subsubcategory | 01.00.13.00 | Sanitary Facilities | Temporary septic tank etc | 1 | lot | 34001 | 34001 | 36501 | 36501 | 70502 | CPM
subsubcategory | 01.00.14.00 | Temporary Barriers and Enclosures | Temporary Fencing | 1 | lot | 30601 | 30601 | 32850 | 32850 | 63451 | CPM
subsubcategory | 01.00.15.00 | Construction Waste Management | Disposal of construction waste | 1 | lot | 68001 | 68001 | 146001 | 146001 | 214002 | CPM
subsubcategory | 01.00.16.00 | Closeout Submittals | As-built drawings | 1 | lot | 0 |  | 63710 | 63710 | 63710 | CPM
category | 02.00.00.00 | Earth Works & Sub Structures
subcategory | 02.01.00.00 | RETAINING WALL |  |  |  |  | 3961769 |  | 1945557 | 5907326
subsubcategory | 02.01.01.00 | Foundation Excavation | RW footing excavation | 160 | cu.m | 0 |  | 527 | 84320 | 84320 | CPM
subsubcategory | 02.01.02.00 | Earth Disposal | Hauling and Disposal | 272 | cu.m | 115 | 31280 | 624 | 169728 | 201008 | CPM
subsubcategory | 02.01.03.00 | Section F1 (Front Wall) | 4000 psi | 185 | cu.m | 10200 | 732021 | 2921 | 201549 | 933570 | CPM
subsubcategory | 02.01.09.00 | Section F1 (Front Wall) | Grade 60 | 11189.85 | kgs | 76 |  | 38 |  |  | CPM
subsubcategory |  | Section F1 (Front Wall) | Grade 40 | 1798.65 | kgs | 75 |  | 38
subsubcategory | 02.01.15.00 | G.I. Tie Wire | G16 G.I Tie wire | 389.655 | kgs | 137 |  | 66 |  |  | CPM
subsubcategory |  | Section F1 (Front Wall) | Phenolic boards, bracing supports, shoring supports | 717 | sq.m | 600 |  | 600
subsubcategory | 02.01.22.00 | 100mmØ PVC Pipe | Retaining Wall Drain Pipe, Perforated | 27 | pcs | 1113 | 30051 | 553 | 14931 | 44982 | CPM
subsubcategory | 02.01.23.00 | 100mmØ PVC End Cap | Retaining Wall Drain Pipe | 154 | pcs | 91 | 14014 | 42 | 6468 | 20482 | CPM
subsubcategory | 02.01.24.00 | Filter Drain Geotextile 2m x 50m | Retaining Wall Drain Pipe Filter | 2 | roll | 8400 | 16800 | 4000 | 8000 | 24800 | CPM
subsubcategory | 02.01.25.00 | 3/4" Gravel | Retaining Wall Drain Pipe Filter Gravel | 8 | cu.m | 2100 | 16800 | 1100 | 8800 | 25600 | CPM
subcategory | 02.02.00.00 | Bored pile works |  |  |  |  | 3586988 |  | 4129372 | 7716360
subsubcategory | 02.02.01.00 | Earth Excavation | Bored Pile Drilling and Excavation - D400mmØ-hole, 9000mm-deep w/ equipment | 676 | lm | 817 | 552292 | 3359 | 2270684 | 2822976 | CPM
subsubcategory | 02.02.02.00 | Earth Disposal | Hauling and Disposal of wet soil on sacks | 255 | cu.m | 817 | 208335 | 1899 | 484245 | 692580 | CPM
subsubcategory | 02.02.03.00 | FDN-GF - Concrete works | Piles - 4,000psi; D400mmØ x ±9000mm | 107 | cu.m | 10609 | 1135163 | 2921 | 312547 | 1447710 | CPM
subsubcategory | 02.02.04.00 | FDN-GF - Rebar works | Piles - Gr.60 Ø16mm Main Vertical Bars | 14313 | kgs | 76 | 1087788 | 38 | 543894 | 1631682 | CPM
subsubcategory | 02.02.05.00 | FDN-GF - Rebar works | Piles - Gr.60 Ø10mm Spiral Ties @ 100mm | 5672 | kgs | 76 | 431072 | 38 | 215536 | 646608 | CPM
subsubcategory | 02.02.06.00 | FDN-GF - Rebar works | Piles - G.I. Tie Wire | 601 | kgs | 137 | 82337 | 66 | 39666 | 122003 | CPM
subsubcategory | 02.02.07.00 | Material Hauling works | Gravel, sand, cement etc. | 1 | lot | 90001 | 90001 | 262800 | 262800 | 352801 | CPM
subcategory | 02.03.00.00 | Foundation Excavation |  |  |  |  | 415065 |  | 1906650 | 2321715
subsubcategory | 02.03.01.00 | Earth Excavation | Structural Excavation | 441 | cu.m | 0 |  | 527 | 232407 | 232407 | CPM
subsubcategory | 02.03.02.00 | Earth Disposal | Hauling and Disposal | 1953 | cu.m | 115 | 224595 | 624 | 1218672 | 1443267 | CPM
subsubcategory | 02.03.03.00 | Backfilling and Compaction | Excavated Foundation Compacted backfill in 0.30 m lifts | 857 | sq.m | 0 |  | 293 | 251101 | 251101 | CPM
subsubcategory | 02.03.04.00 | Gravel Bedding | Foundation and Slab-on-Fill - 3/4" Gravel, 50mm-thick | 70 | cu.m | 2721 | 190470 | 2921 | 204470 | 394940 | CPM
subcategory | 02.04.00.00 | Earth Excavation/Grading (Rear) | [6 empty] | 1889328 | 1889328
subsubcategory | 02.04.01.00 | Earth Excavation | Elevated Earth Excavation | 1008 | Cu.m | 0 |  | 527 | 531216 | 531216 | CPM
subsubcategory | 02.04.02.00 | Earth Disposal and debris disposal | Hauling and Disposal | 1638 | Cu.m | 0 |  | 624 | 1022112 | 1022112 | CPM
subsubcategory | 02.04.03.00 | Demolition of Existing House | Demolition and jackhammer | 1 | lot | 0 |  | 336000 | 336000 | 336000 | CPM
category | 03.00.00.00 | STRUCTURAL WORKS
subcategory | 03.01.00.00 | CONCRETE WORKS |  |  |  |  | 5569725 |  | 1916775 | 7486500
subsubcategory | 03.01.01.00 | FDN-GF - Concrete works | Pile Caps (Type A) - 4,000psi; Chamfered Equilateral Triangular Shape; 2630mm-sides x 800mm-depth | 44 | cu.m | 10609 | 466796 | 3651 | 160644 | 627440 | CPM
subsubcategory | 03.01.02.00 | FDN-GF - Concrete works | Pile Caps (Type B) - 4,000psi; Chamfered Equilateral Triangular Shape; 2630mm-sides x 500mm-depth | 14 | cu.m | 10609 | 148526 | 3651 | 51114 | 199640 | CPM
subsubcategory | 03.01.03.00 | FDN-GF - Concrete works | Concrete Pedestal - 4,000psi; 500mm x 500mm | 5 | cu.m | 10609 | 53045 | 3651 | 18255 | 71300 | CPM
subsubcategory | 03.01.04.00 | Steel Structures (bolts, Plates, I Beams) (By other Contractor) | Errection, Welding Works, Setting Of Bolts And All Metal Works Such As Stairs, Purlins Etc. | 0 |  | 0 |  | 0 |  |  | By other Contractor
subsubcategory | 03.01.05.00 | GF-2F - Concrete works | Slab-on-fill - 3,500psi; 150mm-thick | 234 | cu.m | 10609 | 2482506 | 3651 | 854334 | 3336840 | CPM
subsubcategory | 03.01.06.00 | 2F-3F - Concrete works | Slab-on-Steel Deck - 4,000psi; 150mm-thk | 189 | cu.m | 10609 | 2005101 | 3651 | 690039 | 2695140 | CPM
subsubcategory | 03.01.07.00 | 3F-RF - Concrete works | Slab-on-Steel Deck - 4,000psi; 150mm-thk | 39 | cu.m | 10609 | 413751 | 3651 | 142389 | 556140 | CPM
subcategory | 03.02.00.00 | REINFORCEMENT WORKS |  |  |  |  | 3288161 |  | 1654780 | 4942941
subsubcategory | 03.02.01.00 | FDN-GF - Rebar works | Pile Caps (Type A) - Gr.60 Ø16mm Top & Bot. B.W. | 4434 | kgs | 76 | 336984 | 38 | 168492 | 505476 | CPM
subsubcategory | 03.02.02.00 | FDN-GF - Rebar works | Pile Caps (Type A) - G.I. Tie Wire | 246 | kgs | 137 | 33702 | 66 | 16236 | 49938 | CPM
subsubcategory | 03.02.03.00 | FDN-GF - Rebar works | Pile Caps (Type B) - Gr.60 Ø16mm Top & Bot. B.W. | 1688 | kgs | 76 | 128288 | 38 | 64144 | 192432 | CPM
subsubcategory | 03.02.04.00 | FDN-GF - Rebar works | Pile Caps (Type B) - G.I. Tie Wire | 95 | kgs | 137 | 13015 | 66 | 6270 | 19285 | CPM
subsubcategory | 03.02.05.00 | GF-2F - Rebar works | Concrete Pedestal - Gr.60 Ø20mm Main Vertical Bars | 1225 | kgs | 76 | 93100 | 38 | 46550 | 139650 | CPM
subsubcategory | 03.02.06.00 | GF-2F - Rebar works | Concrete Pedestal - Gr.40 Ø10mm Lat. Ties | 766 | kgs | 75 | 57450 | 38 | 29108 | 86558 | CPM
subsubcategory | 03.02.07.00 | GF-2F - Rebar works | Concrete Pedestal - G.I. Tie Wire | 111 | kgs | 137 | 15207 | 66 | 7326 | 22533 | CPM
subsubcategory | 03.02.08.00 | GF-2F - Rebar works | Slab-on-fill - Gr.40 Ø10mm @ 200mm B.W. | 10314 | kgs | 75 | 773550 | 38 | 391932 | 1165482 | CPM
subsubcategory | 03.02.09.00 | GF-2F - Rebar works | Slab-on-fill - G.I. Tie Wire | 569 | kgs | 137 | 77953 | 66 | 37554 | 115507 | CPM
subsubcategory | 03.02.10.00 | 2F-3F - Rebar works | Slab-on-Steel Deck - Gr.40 Ø10mm @ 200mm B.W. Top & Bottom | 17688 | kgs | 75 | 1326600 | 38 | 672144 | 1998744 | CPM
subsubcategory | 03.02.11.00 | 2F-3F - Rebar works | Slab-on-Steel Deck - G.I. Tie Wire | 975 | kgs | 137 | 133575 | 66 | 64350 | 197925 | CPM
subsubcategory | 03.02.12.00 | 3F-RF - Rebar works | Slab-on-Steel Deck - Gr.40 Ø10mm @ 200mm B.W. Top & Bottom | 3616 | kgs | 75 | 271200 | 38 | 137408 | 408608 | CPM
subsubcategory | 03.02.13.00 | 3F-RF - Rebar works | Slab-on-Steel Deck - G.I. Tie Wire | 201 | kgs | 137 | 27537 | 66 | 13266 | 40803 | CPM
subcategory | 03.03.00.00 | FORMS AND SHORING WORKS |  |  |  |  | 745114 |  | 737868 | 1482982
subsubcategory | 03.03.01.00 | FDN-GF - Form works | Pile Caps (Type A) - Phenolic boards, bracing supports, shoring supports | 9 | sq.m | 681 | 6129 | 731 | 6579 | 12708 | CPM
subsubcategory | 03.03.02.00 | FDN-GF - Form works | Pile Caps (Type B) - Phenolic boards, bracing supports, shoring supports | 5 | sq.m | 681 | 3405 | 731 | 3655 | 7060 | CPM
subsubcategory | 03.03.03.00 | FDN-GF - Form works | Concrete Pedestal - Phenolic boards, bracing supports, shoring supports | 34 | sq.m | 681 | 23154 | 731 | 24854 | 48008 | CPM
subsubcategory | 03.03.04.00 | GF-2F - Form works | Slab-on-fill - Phenolic boards, blockout forms, bracing supports | 1716 | sq.m | 69 | 118404 | 38 | 65208 | 183612 | CPM
subsubcategory | 03.03.05.00 | 2F-3F - Form works | Slab-on-Steel Deck - Shoring Supports, Bracing Supports | 1467 | sq.m | 341 | 500247 | 366 | 536922 | 1037169 | CPM
subsubcategory | 03.03.06.00 | 3F-RF - Form works | Slab-on-Steel Deck - Shoring Supports, Bracing Supports | 275 | sq.m | 341 | 93775 | 366 | 100650 | 194425 | CPM