## BOQ
Type | Item Code | Work Description | Specification | Qty | Unit | Material Unit Cost | Total Material Cost | LE Unit Cost | Total LEC | Grand Total Cost | Condition
category | 01.00.00.00 | PRELIMINARY FOR CIVIL WORKS
subsubcategory | 01.00.01.00 | Project Management and Coordination | Site management and supervision (technical team) | 1 | lot | 35260 | 35260 | 243333 | 243333 | 278593 | CPM
subsubcategory | 01.00.02.00 | Facility Services Coordination | Service vehicle/ transportation | 1 | lot | 0 | 0 | 270371 | 270371 | 270371 | CPM
subsubcategory | 01.00.03.00 | Construction Progress Reporting | Schedules/ reports | 1 | lot | 25185 | 25185 | 27037 | 27037 | 52222 | CPM
subsubcategory | 01.00.04.00 | Health and Safety provisions | Site supervision and safety equipments/ provisions | 1 | lot | 0 | 0 | 27037 | 27037 | 27037 | CPM
subsubcategory | 01.00.05.00 | Site Security | Security personnel | 1 | lot | 0 | 0 | 162222 | 162222 | 162222 | CPM
subsubcategory | 01.00.06.00 | Building Permit, By Owner (Not included in Work) (Not included in Work) | Building Permit, By Owner To Be Assisted By The Gen Con | 1 | lot | 0 | 0 | 0 | 0 | 0 | Not included in Work
subsubcategory | 01.00.07.00 | DENR Permit, By Owner (Not included in Work) (Not included in Work) | DENR Permit, by owner | 1 | lot | 0 | 0 | 0 | 0 | 0 | Not included in Work
subsubcategory | 01.00.08.00 | Quality Control | Testing Laboratory Services | 1 | lot | 35260 | 35260 | 135185 | 135185 | 170445 | CPM
subsubcategory | 01.00.09.00 | Temporary Utilities | Temporary Electricity, by owner | 1 | lot | 0 | 0 | 0 | 0 | 0 | CPM
subsubcategory | 01.00.10.00 | Temporary Utilities | Temporary Water, by owner | 1 | lot | 0 | 0 | 0 | 0 | 0 | CPM
subsubcategory | 01.00.11.00 | Field Offices and Sheds | Construction Office | 1 | lot | 50371 | 50371 | 54074 | 54074 | 104445 | CPM
subsubcategory | 01.00.12.00 | Field Offices and Sheds | Barracks | 1 | lot | 50371 | 50371 | 54074 | 54074 | 104445 | CPM
subsubcategory | 01.00.13.00 | Sanitary Facilities | Temporary septic tank etc | 1 | lot | 25185 | 25185 | 27037 | 27037 | 52222 | CPM
subsubcategory | 01.00.14.00 | Temporary Barriers and Enclosures | Temporary Fencing | 1 | lot | 22667 | 22667 | 24333 | 24333 | 47000 | CPM
subsubcategory | 01.00.15.00 | Construction Waste Management | Disposal of construction waste | 1 | lot | 50371 | 50371 | 108148 | 108148 | 158519 | CPM
subsubcategory | 01.00.16.00 | Closeout Submittals | As-built drawings | 1 | lot | 0 | 0 | 47192 | 47192 | 47192 | CPM
category | 02.00.00.00 | Earth Works & Sub Structures
subcategory | 02.01.00.00 | RETAINING WALL |  |  |  |  | 3215002 |  | 1645694 | 4860696
subsubcategory | 02.01.01.00 | Foundation Excavation | RW footing excavation | 152 | cu.m | 0 | 0 | 390 | 59280 | 59280 | CPM
subsubcategory | 02.01.02.00 | Earth Disposal | Hauling And Disposal (foundation) | 259 | cu.m | 85 | 22015 | 462 | 119658 | 141673 | CPM
subsubcategory | 02.01.03.00 | RC Wall Concrete | 4000 psi | 204 | cu.m | 7858 | 1603032 | 2163 | 441252 | 2044284 | CPM
subsubcategory | 02.01.04.00 | Reinforcing Bar | Grade 60 | 14571 | kgs | 56 | 815976 | 28 | 407988 | 1223964 | CPM
subsubcategory | 02.01.05.00 | Reinforcing Bar | Grade 40 | 3142 | kgs | 55 | 172810 | 28 | 87976 | 260786 | CPM
subsubcategory | 02.01.06.00 | G.I. Tie Wire | G16 G.I Tie wire | 457 | kgs | 101 | 46157 | 48 | 21936 | 68093 | CPM
subsubcategory | 02.01.07.00 | Form Works | Phenolic boards, bracing supports, shoring supports | 719 | sq.m | 445 | 319955 | 444 | 319236 | 639191 | CPM
subsubcategory | 02.01.08.00 | Riprap Near Stair | Boulders | 1 | Lot | 73333 | 73333 | 78133 | 78133 | 151466 | CPM
subsubcategory | 02.01.09.00 | Sheetpile Protection | Slope Protection | 1 | Lot | 88888 | 88888 | 74074 | 74074 | 162962 | CPM
subsubcategory | 02.01.10.00 | 100mmØ PVC Pipe | Retaining Wall Drain Pipe, Perforated | 35 | pcs | 824 | 28840 | 409 | 14315 | 43155 | CPM
subsubcategory | 02.01.11.00 | 100mmØ PVC End Cap | Retaining Wall Drain Pipe | 146 | pcs | 67 | 9782 | 31 | 4526 | 14308 | CPM
subsubcategory | 02.01.12.00 | Filter Drain Geotextile 2m x 50m | Retaining Wall Drain Pipe Filter | 2 | roll | 6222 | 12444 | 2962 | 5924 | 18368 | CPM
subsubcategory | 02.01.13.00 | 3/4" Gravel | Retaining Wall Drain Pipe Filter Gravel And Foundation Base Coarse | 14 | cu.m | 1555 | 21770 | 814 | 11396 | 33166 | CPM
subcategory | 02.02.00.00 | Bored pile works |  |  |  |  | 2519886 |  | 2913517 | 5433403
subsubcategory | 02.02.01.00 | Earth Excavation | Bored Pile Drilling and Excavation - D400mmØ-hole, 9000mm-deep w/ equipment | 643 | lm | 605 | 389015 | 2488 | 1599784 | 1988799 | CPM
subsubcategory | 02.02.02.00 | Earth Disposal | Hauling and Disposal of wet soil on sacks | 242 | cu.m | 605 | 146410 | 1406 | 340252 | 486662 | CPM
subsubcategory | 02.02.03.00 | FDN-GF - Concrete works | Piles - 4,000psi; D400mmØ x ±9000mm | 101 | cu.m | 7858 | 793658 | 2163 | 218463 | 1012121 | CPM
subsubcategory | 02.02.04.00 | FDN-GF - Rebar works | Piles - Gr.60 Ø16mm Main Vertical Bars | 13631 | kgs | 56 | 763336 | 28 | 381668 | 1145004 | CPM
subsubcategory | 02.02.05.00 | FDN-GF - Rebar works | Piles - Gr.60 Ø10mm Spiral Ties @ 100mm | 5401 | kgs | 56 | 302456 | 28 | 151228 | 453684 | CPM
subsubcategory | 02.02.06.00 | FDN-GF - Rebar works | Piles - G.I. Tie Wire | 572 | kgs | 102 | 58344 | 48 | 27456 | 85800 | CPM
subsubcategory | 02.02.07.00 | Material Hauling works | Gravel, sand, cement etc. | 1 | lot | 66667 | 66667 | 194666 | 194666 | 261333 | CPM
subcategory | 02.03.00.00 | Foundation Excavation |  |  |  |  | 291090 |  | 1342950 | 1634040
subsubcategory | 02.03.01.00 | Earth Excavation | Structural Excavation | 420 | cu.m | 0 | 0 | 390 | 163800 | 163800 | CPM
subsubcategory | 02.03.02.00 | Earth Disposal | Hauling and Disposal | 1860 | cu.m | 85 | 158100 | 462 | 859320 | 1017420 | CPM
subsubcategory | 02.03.03.00 | Backfilling and Compaction | Excavated Foundation Compacted backfill in 0.30 m lifts | 816 | sq.m | 0 | 0 | 217 | 177072 | 177072 | CPM
subsubcategory | 02.03.04.00 | Gravel Bedding | Foundation and Slab-on-Fill - 3/4" Gravel, 50mm-thick | 66 | cu.m | 2015 | 132990 | 2163 | 142758 | 275748 | CPM
subcategory | 02.04.00.00 | Earth Excavation/Grading (Rear) |  |  |  |  | 0 |  | 1344008 | 1344008
subsubcategory | 02.04.01.00 | Earth Excavation | Elevated Earth Excavation | 960 | Cu.m | 0 | 0 | 390 | 374400 | 374400 | CPM
subsubcategory | 02.04.02.00 | Earth Disposal and debris disposal | Hauling and Disposal | 1560 | Cu.m | 0 | 0 | 462 | 720720 | 720720 | CPM
subsubcategory | 02.04.03.00 | Demolition of Existing House | Demolition and jackhammer | 1 | lot | 0 | 0 | 248888 | 248888 | 248888 | CPM
category | 03.00.00.00 | STRUCTURAL WORKS
subcategory | 03.01.00.00 | CONCRETE WORKS |  |  |  |  | 3913284 |  | 1346592 | 5259876
subsubcategory | 03.01.01.00 | FDN-GF - Concrete works | Pile Caps (Type A) - 4,000psi; Chamfered Equilateral Triangular Shape; 2630mm-sides x 800mm-depth | 41 | cu.m | 7858 | 322178 | 2704 | 110864 | 433042 | CPM
subsubcategory | 03.01.02.00 | FDN-GF - Concrete works | Pile Caps (Type B) - 4,000psi; Chamfered Equilateral Triangular Shape; 2630mm-sides x 500mm-depth | 13 | cu.m | 7858 | 102154 | 2704 | 35152 | 137306 | CPM
subsubcategory | 03.01.03.00 | FDN-GF - Concrete works | Concrete Pedestal - 4,000psi; 500mm x 500mm | 5 | cu.m | 7858 | 39290 | 2704 | 13520 | 52810 | CPM
subsubcategory | 03.01.04.00 | Steel Structures (bolts, Plates, I Beams) (By other Contractor) (By other Contractor) | Errection, Welding Works, Setting Of Bolts And All Metal Works Such As Stairs, Purlins Etc. | 0 |  | 0 | 0 | 0 | 0 | 0 | By other Contractor
subsubcategory | 03.01.05.00 | GF-2F - Concrete works | Slab-on-fill - 3,500psi; 150mm-thick | 222 | cu.m | 7858 | 1744476 | 2704 | 600288 | 2344764 | CPM
subsubcategory | 03.01.06.00 | 2F-3F - Concrete works | Slab-on-Steel Deck - 4,000psi; 150mm-thk | 180 | cu.m | 7858 | 1414440 | 2704 | 486720 | 1901160 | CPM
subsubcategory | 03.01.07.00 | 3F-RF - Concrete works | Slab-on-Steel Deck - 4,000psi; 150mm-thk | 37 | cu.m | 7858 | 290746 | 2704 | 100048 | 390794 | CPM
subcategory | 03.02.00.00 | REINFORCEMENT WORKS |  |  |  |  | 2298854 |  | 1160552 | 3459406
subsubcategory | 03.02.01.00 | FDN-GF - Rebar works | Pile Caps (Type A) - Gr.60 Ø16mm Top & Bot. B.W. | 4222 | kgs | 56 | 236432 | 28 | 118216 | 354648 | CPM
subsubcategory | 03.02.02.00 | FDN-GF - Rebar works | Pile Caps (Type A) - G.I. Tie Wire | 234 | kgs | 101 | 23634 | 48 | 11232 | 34866 | CPM
subsubcategory | 03.02.03.00 | FDN-GF - Rebar works | Pile Caps (Type B) - Gr.60 Ø16mm Top & Bot. B.W. | 1607 | kgs | 56 | 89992 | 28 | 44996 | 134988 | CPM
subsubcategory | 03.02.04.00 | FDN-GF - Rebar works | Pile Caps (Type B) - G.I. Tie Wire | 90 | kgs | 101 | 9090 | 48 | 4320 | 13410 | CPM
subsubcategory | 03.02.05.00 | GF-2F - Rebar works | Concrete Pedestal - Gr.60 Ø20mm Main Vertical Bars | 1166 | kgs | 56 | 65296 | 28 | 32648 | 97944 | CPM
subsubcategory | 03.02.06.00 | GF-2F - Rebar works | Concrete Pedestal - Gr.40 Ø10mm Lat. Ties | 729 | kgs | 55 | 40095 | 28 | 20412 | 60507 | CPM
subsubcategory | 03.02.07.00 | GF-2F - Rebar works | Concrete Pedestal - G.I. Tie Wire | 105 | kgs | 101 | 10605 | 48 | 5040 | 15645 | CPM
subsubcategory | 03.02.08.00 | GF-2F - Rebar works | Slab-on-fill - Gr.40 Ø10mm @ 200mm B.W. | 9822 | kgs | 55 | 540210 | 28 | 275016 | 815226 | CPM
subsubcategory | 03.02.09.00 | GF-2F - Rebar works | Slab-on-fill - G.I. Tie Wire | 541 | kgs | 101 | 54641 | 48 | 25968 | 80609 | CPM
subsubcategory | 03.02.10.00 | 2F-3F - Rebar works | Slab-on-Steel Deck - Gr.40 Ø10mm @ 200mm B.W. Top & Bottom | 16845 | kgs | 55 | 926475 | 28 | 471660 | 1398135 | CPM
subsubcategory | 03.02.11.00 | 2F-3F - Rebar works | Slab-on-Steel Deck - G.I. Tie Wire | 928 | kgs | 101 | 93728 | 49 | 45472 | 139200 | CPM
subsubcategory | 03.02.12.00 | 3F-RF - Rebar works | Slab-on-Steel Deck - Gr.40 Ø10mm @ 200mm B.W. Top & Bottom | 3443 | kgs | 55 | 189365 | 28 | 96404 | 285769 | CPM
subsubcategory | 03.02.13.00 | 3F-RF - Rebar works | Slab-on-Steel Deck - G.I. Tie Wire | 191 | kgs | 101 | 19291 | 48 | 9168 | 28459 | CPM
subcategory | 03.03.00.00 | FORMS AND SHORING WORKS |  |  |  |  | 523830 |  | 519415 | 1043245
subsubcategory | 03.03.01.00 | FDN-GF - Form works | Pile Caps (Type A) - Phenolic boards, bracing supports, shoring supports | 8 | sq.m | 504 | 4032 | 541 | 4328 | 8360 | CPM
subsubcategory | 03.03.02.00 | FDN-GF - Form works | Pile Caps (Type B) - Phenolic boards, bracing supports, shoring supports | 5 | sq.m | 504 | 2520 | 541 | 2705 | 5225 | CPM
subsubcategory | 03.03.03.00 | FDN-GF - Form works | Concrete Pedestal - Phenolic boards, bracing supports, shoring supports | 32 | sq.m | 504 | 16128 | 541 | 17312 | 33440 | CPM
subsubcategory | 03.03.04.00 | GF-2F - Form works | Slab-on-fill - Phenolic boards, blockout forms, bracing supports | 1634 | sq.m | 51 | 83334 | 28 | 45752 | 129086 | CPM
subsubcategory | 03.03.05.00 | 2F-3F - Form works | Slab-on-Steel Deck - Shoring Supports, Bracing Supports | 1397 | sq.m | 252 | 352044 | 271 | 378587 | 730631 | CPM
subsubcategory | 03.03.06.00 | 3F-RF - Form works | Slab-on-Steel Deck - Shoring Supports, Bracing Supports | 261 | sq.m | 252 | 65772 | 271 | 70731 | 136503 | CPM